LABORATORY SAFETY & SUSTAINABILITY INSPECTION WORK FORM

| Checklist Items | P-F-N/A | Comments |
| --- | --- | --- |
| GENERAL |
| Lab Environment |
| Evidence of food or drink |  | No food / beverages are permitted Food used for experimental purposes not labelled |
| Laboratory Info Card posted & up-to-date |  | Only McGill Numbers No Card More than 3 years old Handwritten up-dates | Not on all access doors Missing hazard symbol Extra hazard symbol Missing biohazardous symbol |
| MSDS location noted on Lab Info Card |  | Wrong location No location |  |
| Room Pressure Gradient |  | Negative | Positive |
| Lab is separated from public areas |  | Lab door not closed | Lab door not locked and unattended |
| Designated area for storage of PPE |  | No hooks or storage area available near exit | PPE stored in a non-laboratory setting (i.e. student lounge, office area, lecture rooms) |
| Personnel clothing to be stored separately from dedicated PPE |  | Street clothing and lab clothing in contact |  |
| Hand washing sink has soap and paper towels |  | No soap No paper towels No sink Soap contains microbeads, triclosan | Not applicable |
| Housekeeping & Furniture |
| Floors |  | Slip/trip hazards Require maintenance Excess supplies Discard empty boxes Housekeeping | Old equipment Items across pedestrian traffic areas. Items obstructing exits Clutter |
| Shelves |  | No shelves Shelves sagging 18" clearance from sprinkler heads | Heavy objects stored high Overloaded Objects overhang the shelves Clutter |
| Liquids stored above eye level |  | No shelves Liquids stored high |
| Work surfaces in good condition |  | No work surfaces Surface covers stained Paperwork kept separately from hazardous materials | Damaged bench top Cross-contamination items present |
| Furniture |  | No impermeable work surfaces and furniture | Chair not impermeable |
| Resource efficiency |  | Leaky faucet not reported to Facilities Running tap while not in use Equipment on when not in use | Refrigerator not defrosted Refrigerator not cleaned Freezer not defrosted Freezer not cleaned |
| Personal Protective Equipment |
| Laboratory coats and proper attire worn |  | Policy: Lab coats required Lab coats not closed Shorts/Capri’s/skirts worn | No one available/observed Lab personnel at study desks |
| Disposable laboratory gloves used |  | Gloves not worn Gloves worn with Bunsen burners Lab personnel at study desks | No one available/observed Gloves must not be worn outside lab activities Not required |
| Safety glasses worn (with side-shields) |  | Safety glasses with side-shields required UV light requires special safety glasses Class 3b & 4 lasers require safety glasses | Prescription glasses - no side shields No one available/observed Lab personnel at study desks Not required |
| Appropriate footwear worn (closed) |  | Open footwear | No one available/observed |
| Long hair restrained |  | Long hair not restrained |  |
| Emergency Measures |
| List of certified first-aid providers posted |  | Information available on department’s poster Missing poster- must be posted Missing information (i.e. location of first aid kit, responders, emergency info) MNI: Not required - follow MNI/MNH General Emergency Procedures Cold Room: Not required |
| First-aid Kit available, accessible, inspected quarterly |  | None available - required Available but not accessible - relocate Available and accessible but not properly stocked Available and accessible but not inspected quarterly Not present, but found in another lab nearby Cold Room: Not required Storage Room: Not required |
| Emergency eyewashes accessible, tested weekly and tagged |  | Last tested: Not tagged Not tested Tested weekly but not properly documented Not functioning Access obstructed Not available in lab or corridor, but required Located in corridor Located in room: .... Not required |
| Emergency showers accessible, tested and tagged |  | Last tested: Not tagged Not tested Located in corridor | Located in room ..... Not available in lab or corridor, but required Not required |

| Checklist Items | P-F-N/A | Comments |
| --- | --- | --- |
| CHEMICAL SAFETY |
| W.H.M.I.S. and Green Chemistry |
| Updated inventory available for all chemicals used and stored |  | myLab not implemented Inventory not updated | Incomplete Chemical(s) shared |
| Green Chemistry |  | Use of damaging chemicals where greener alternative are available for intended use Ethidium bromide Halogenated solvents Mercury-containing equipment Solvent-based scintillation fluid |
| MSDS available and accessible |  | Computer not available Incomplete MSDS collection ( %) Lab personnel don’t have access to myLab (full or read only) No one available/observed |
| Containers and/or bottles properly labelled |  | Not approved abbreviations Unlabelled Label damaged and illegible |
| Material Safety Data Sheet (MSDS) Audit | Available (Y/N) | Date DD-MMM-YYYY |
| MSDS up-to-date |  | MSDS not updated by 3E Inc. MSDS required for all WHMIS controlled products ... MSDS missing ... MSDS > 3 years |
| WHMIS Training Up-to-date |  | No record for ..... |
| Chemical Storage & Fume Hood |
| Chemical stored in the appropriate place |  | Chemicals stored in unidentified cabinets Flammables not stored in a flammable storage cabinet Corrosives not stored in a dedicated corrosives cabinet Chemicals stored under sink (except bleach and compatible cleaning agents) Chemicals stored in the fume hood Flammables stored in a domestic refrigerator Excessive quantities of supplies on hand Chemicals stored on desk/in write up areas No chemicals stored |
| Chemical segregation according to compatibility |  | Acids & Bases Acids/Oxidizers & Flammables Oxidizing & organic acids No chemicals stored or only one kept |
| Gas cylinders |  | Cloth straps used (chains preferred) Not secured to a structural component Inadequately secured - ensure straps are tightened Secured too low – to be secured at 3/4 height Must be stored with protective cap when not in use Lab coats / other items placed on gas cylinders Cylinders placed behind door Excessive quantities Cylinders placed near sources of heat None found/used |
| Expiry date and date of arrival for chemicals |  | Ether (diethyl ether, ethyl ether) Isopropyl ether Cyclohexene Dimethyl ether | Dicyclopentadiene THF (Tetrahydrofuran) Dioxane Picric acid None found/used |
| Fume Hood Inspection |  | Refer to Chemical Fume Hood Inspection Report EHS-FH- | Not available |
| Chemical Waste |
| Appropriate waste containers used |  | 20-L solvent container 20-L corrosives container Small bottles | Waste containers over-filled Wrong type of container used Waste disposed in room .... None found |
| Waste containers properly labelled |  | Tags not properly filled Tags filled using chemical formulas Tags filled using non approved abbreviations Smaller container used – name of PI missing Smaller container used – original label visible Vacuum flasks must be labelled “Waste” Vacuum flasks stored on the floor must be kept in secondary container None found |
| Waste containers stored in appropriate location |  | Stored in fume hood Waste containers not kept closed when not in use Waste containers stored in traffic areas (slip/falls risk) None found |
| Garbage free of sharps & hazardous waste |  | Pipette tips found in regular garbage Glass chemical bottles found in regular garbage/recycling bins Non-biohazardous waste (....) found in the biomedical waste boxes Glass chemical bottles found in broken glass boxes/recycling bins No waste generated |
| Sharps containers available and properly labelled |  | Container not properly identified Sharps found in the regular garbage/recycling bins Sharps NOT collected in a puncture-proof container Sharps container not clearly labelled - original label visible Sharps container not clearly labelled “SHARPS” Non-biohazardous sharps collected in a container that has a biohazards symbol Sharps containers over-filled No sharps generated None found |

| Checklist Items | P-F-N/A | Comments |
| --- | --- | --- |
| BIOSAFETY |
| General Requirements |
| All systems used for biohazardous storage (freezers, refrigerators, liquid nitrogen storage.) are appropriately labeled with biohazard stickers/signs |  | No signage/biohazardous stickers |
| Biohazardous inventory available |  | Inventory not available Inventory incomplete |
| Personnel received Biosafety training |  | No record of training CL2+ labs: Documentation of Training not kept on file (Appendix 1 of SOP) |
| Biological Safety Cabinets (BSCs) |
| BSCs certified annually |  | BSC not certified Expired certification |
| Work surface and shield clean |  | Unclean work surface Unclean shield |
| Proper procedures followed when working in BSCs |  | PPE not worn while working in BSC Front grill BSC not turned off when not in use |
| Open flames are not used in BSCs |  | Bunsen burner found inside BSC Use of open flame in BSC |
| No permanent storage of materials in BSC |  | Storage of materials in BSC |
| Personnel received BSC training |  | No record of BSC training |
| Biohazardous Waste |
| Biohazardous waste is placed in properly labeled containers, liquid waste placed in leak-proof unbreakable containers |  | Proper autoclavable bags not used Biohazardous boxes overfilled Biohazardous waste found in regular garbage |
| Biohazardous sharps containers available and properly labelled |  | Container not properly identified Biohazardous sharps found in the regular garbage/recycling bins Biohazardous sharps NOT collected in a puncture-proof container Biohazardous sharps container not clearly labelled - original label visible Biohazardous sharps container not clearly labelled “BIOHAZARDOUS SHARPS” Biohazardous sharps containers disposed of via the regular garbage/recycling bins Biohazardous sharps containers over-filled No biohazardous sharps generated None found - |
| Disinfectants against agents in use are available |  | Disinfectants not available Ethanol used but wrong concentration (over 85%) |
| Autoclave operating procedure posted |  | Waste is incinerated Procedures not posted |
| Monitoring of autoclaves with biological indicators done regularly and records kept on file |  | Waste is incinerated Biological Indicators not used Testing logs not kept on file |
| Records of autoclave cycle logs (time, pressure and temp.) kept on file |  | Waste is incinerated Cycle logs not kept on file. |

| Checklist Items | P-F-N/A | Comments |
| --- | --- | --- |
| RADIATION |
| General Requirements |
| Radiation warning signs posted (door, hood, ref. etc.) |  |  |
| CNSC, Internal Permit posted |  |  |
| Log Book present |  |  |
| Staff & student Radiation Safety Training |  |  |
| Previous deficiencies adequately resolved |  |  |
| Contamination and Monitoring |
| Wipe test and LSC |  |  |
| Contamination |  |  |
| Survey instrument available, calibrated & functioning |  |  |
| Thyroid monitoring |  |  |
| Personnel monitoring utilized (TLD) |  |  |
| Radioisotope and Waste |
| Radioisotope physical inventory (vials identified) |  |  |
| Radioisotope inventory updated (myLab) |  |  |
| Radioisotope storage and security adequate |  |  |
| Radioactive waste stored and labelled properly |  |  |

| Radioisotope | Open or sealed | Stored in | Used in | Comments |
| --- | --- | --- | --- | --- |

# Comments

Some labs justify this by claiming that the boxes will be reused

QUESTION: OSD - does this adequately capture ‘inconsistent layout’?

Potential long term addition: Work surfaces do not have rounded corners.

QUESTION: Is this already in the accessible lab design standards?

Items re. lighting have been excluded from this checklist since inspections are conducted during the daytime when labs are occupied (and thus lit).

FUTURE ACTION: develop resources to facilitate resource efficiency (ex. recycling procedures, equipment startup/shutdown protocols, equipment reminder labels) and tools/infrastructure as needed (paper recycling bins next to computers?)

ACTION: Check with Jerome wrt how to check for this

Note: Fire prevention is responsible for fire extinguishers, therefore accessibility about this

ACTION: EHS inspectors to broaden definition of ‘accessibility’ to include principles of universal design (ex. accessibility to those with disabilities)

This is indicated by a check box in MyLab

ACTION: TEO to propose five commonly used chemicals and identify potential green alternatives. Consultation with Green Chemistry researchers as relevant.

QUESTION: should this go under chemical waste instead?

ACTION: Teo to send, add reference to sash being down (it applicable) and accessibility items

ADD: Fume hood not turned off when in use

LONG TERM: Work with SSE wrt identifying further alternatives to diversion of lab waste from landfill where possible

Should this go under ‘resource efficiency’ or have its own indicator? NO – LEAVE HERE (ref. meeting 25Jan2016)

This is an indicator of efficiency